## Info
Please use the following information when loading trays and submitting samples for analysis.
-Samples should be thoroughly dried, ground and well mixed.
-Samples pretreated with acids need to be given at least 5-8 rinses with distilled water to get rid of all the acid in the sample.
-If you decide to load your own samples please use 96 well plastic trays and make sure that none of the capsules are leaking. (see picture below)
-Samples must be loaded according to the tray loading template. Fill in the blue/green cells only and load the samples into the tray exactly how they are on the template.
-If there are any modifications to the template or the template is not used, the samples will be returned to you and will not be placed in the queue.
-Sample ID's must be unique. Do not use duplicate names. Maximum of 20 characters.
-Sample names should not include commas, apostrophes, quotation marks, back slash, or forward slash.
-Include weights for solid samples. If SIF is weighing the samples enter sample IDs and leave weight column blank.
-If a job has multiple types of material, group samples of similar material together.
-Load the trays/template in the order you want your samples to be run.
-If your samples are enriched, load them from low to high enrichment to reduce the memory effect.
-Always use different trays for enriched and natural abundance samples.
-If mailing the 96 well plates, ensure that when the tray is turned upsidedown and shaken the samples do not jump to other wells. You can cut a piece of cardstock, thick paper, or cardboard to fit in the top of the tray.
-If you have more samples that fit into 9 trays, please submit as two jobs.
-Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
Stable Isotope Facility

## Tray 1
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-_1-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 1
2 | A2 | 48-UWSIF-Glut-4-_1-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-_1-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-_1-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-_1-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-_1-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4--1-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-_1-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-_1-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | _1-1 |  |  | unknown
11 | B3 | _1-2 |  |  | unknown
12 | B4 | _1-3 |  |  | unknown
13 | B5 | _1-4 |  |  | unknown
14 | B6 | _1-5 |  |  | unknown
15 | B7 | _1-6 |  |  | unknown
16 | B8 | _1-7 |  |  | unknown
17 | C1 | _1-8r |  |  | unknown
18 | C2 | _1-9 |  |  | unknown
19 | C3 | _1-10 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | _1-11 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | _1-12 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | _1-13 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | _1-14 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | _1-15 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | _1-16 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | _1-17 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | _1-18 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | _1-19 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | _1-20 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-_1-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-_1-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 2
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_2-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 2 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_2-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_2-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_2-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_2-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_2-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-2-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_2-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_2-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_2-21 |  |  | unknown
11 | B3 | 0_2-22 |  |  | unknown
12 | B4 | 0_2-23 |  |  | unknown
13 | B5 | 0_2-24 |  |  | unknown
14 | B6 | 0_2-25 |  |  | unknown
15 | B7 | 0_2-26 |  |  | unknown
16 | B8 | 0_2-27 |  |  | unknown
17 | C1 | 0_2-28r |  |  | unknown
18 | C2 | 0_2-29 |  |  | unknown
19 | C3 | 0_2-30 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_2-31 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_2-32 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_2-33 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_2-34 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_2-35 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_2-36 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_2-37 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_2-38 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_2-39 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_2-40 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_2-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_2-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 3
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_3-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 3 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_3-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_3-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_3-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_3-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_3-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-3-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_3-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_3-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_3-41 |  |  | unknown
11 | B3 | 0_3-42 |  |  | unknown
12 | B4 | 0_3-43 |  |  | unknown
13 | B5 | 0_3-44 |  |  | unknown
14 | B6 | 0_3-45 |  |  | unknown
15 | B7 | 0_3-46 |  |  | unknown
16 | B8 | 0_3-47 |  |  | unknown
17 | C1 | 0_3-48r |  |  | unknown
18 | C2 | 0_3-49 |  |  | unknown
19 | C3 | 0_3-50 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_3-51 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_3-52 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_3-53 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_3-54 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_3-55 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_3-56 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_3-57 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_3-58 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_3-59 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_3-60 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_3-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_3-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 4
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_4-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 4 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_4-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_4-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_4-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_4-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_4-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-4-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_4-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_4-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_4-61 |  |  | unknown
11 | B3 | 0_4-62 |  |  | unknown
12 | B4 | 0_4-63 |  |  | unknown
13 | B5 | 0_4-64 |  |  | unknown
14 | B6 | 0_4-65 |  |  | unknown
15 | B7 | 0_4-66 |  |  | unknown
16 | B8 | 0_4-67 |  |  | unknown
17 | C1 | 0_4-68r |  |  | unknown
18 | C2 | 0_4-69 |  |  | unknown
19 | C3 | 0_4-70 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_4-71 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_4-72 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_4-73 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_4-74 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_4-75 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_4-76 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_4-77 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_4-78 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_4-79 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_4-80 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_4-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_4-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 5
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_5-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 5 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_5-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_5-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_5-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_5-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_5-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-5-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_5-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_5-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_5-81 |  |  | unknown
11 | B3 | 0_5-82 |  |  | unknown
12 | B4 | 0_5-83 |  |  | unknown
13 | B5 | 0_5-84 |  |  | unknown
14 | B6 | 0_5-85 |  |  | unknown
15 | B7 | 0_5-86 |  |  | unknown
16 | B8 | 0_5-87 |  |  | unknown
17 | C1 | 0_5-88r |  |  | unknown
18 | C2 | 0_5-89 |  |  | unknown
19 | C3 | 0_5-90 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_5-91 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_5-92 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_5-93 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_5-94 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_5-95 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_5-96 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_5-97 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_5-98 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_5-99 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_5-100 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_5-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_5-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 6
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_6-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 6 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_6-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_6-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_6-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_6-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_6-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-6-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_6-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_6-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_6-101 |  |  | unknown
11 | B3 | 0_6-102 |  |  | unknown
12 | B4 | 0_6-103 |  |  | unknown
13 | B5 | 0_6-104 |  |  | unknown
14 | B6 | 0_6-105 |  |  | unknown
15 | B7 | 0_6-106 |  |  | unknown
16 | B8 | 0_6-107 |  |  | unknown
17 | C1 | 0_6-108r |  |  | unknown
18 | C2 | 0_6-109 |  |  | unknown
19 | C3 | 0_6-110 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_6-111 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_6-112 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_6-113 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_6-114 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_6-115 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_6-116 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_6-117 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_6-118 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_6-119 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_6-120 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_6-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_6-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 7
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_7-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 7 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_7-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_7-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_7-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_7-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_7-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-7-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_7-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_7-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_7-121 |  |  | unknown
11 | B3 | 0_7-122 |  |  | unknown
12 | B4 | 0_7-123 |  |  | unknown
13 | B5 | 0_7-124 |  |  | unknown
14 | B6 | 0_7-125 |  |  | unknown
15 | B7 | 0_7-126 |  |  | unknown
16 | B8 | 0_7-127 |  |  | unknown
17 | C1 | 0_7-128r |  |  | unknown
18 | C2 | 0_7-129 |  |  | unknown
19 | C3 | 0_7-130 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_7-131 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_7-132 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_7-133 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_7-134 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_7-135 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_7-136 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_7-137 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_7-138 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_7-139 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_7-140 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_7-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_7-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 8
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_8-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 8 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_8-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_8-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_8-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_8-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_8-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-8-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_8-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_8-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_8-141 |  |  | unknown
11 | B3 | 0_8-142 |  |  | unknown
12 | B4 | 0_8-143 |  |  | unknown
13 | B5 | 0_8-144 |  |  | unknown
14 | B6 | 0_8-145 |  |  | unknown
15 | B7 | 0_8-146 |  |  | unknown
16 | B8 | 0_8-147 |  |  | unknown
17 | C1 | 0_8-148r |  |  | unknown
18 | C2 | 0_8-149 |  |  | unknown
19 | C3 | 0_8-150 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_8-151 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_8-152 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_8-153 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_8-154 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_8-155 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_8-156 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_8-157 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_8-158 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_8-159 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_8-160 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_8-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_8-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)

## Tray 9
AS# | WELL | UWSIF ID | SAMPLE ID | WEIGHT | Identifier_3 | Preparation_notes | TRAY # | ROUTING SHEET # | PI
1 | A1 | 48-UWSIF-Glut-4-0_9-1 | 48-UWSIF-Glut-4- |  | conditioning |  | 9 | 0 | 0
2 | A2 | 48-UWSIF-Glut-4-0_9-2 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization
3 | A3 | 48-UWSIF-Glut-4-0_9-3 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | 100-CAROUSEL TEMPLATE*
4 | A4 | 48-UWSIF-Glut-4-0_9-4 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Blue/green fields are filled out by User.
5 | A5 | 48-UWSIF-Glut-4-0_9-5 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | Grey fields are filled out by SIF Techs Only
6 | A6 | 48-UWSIF-Glut-4-0_9-6 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | *Use 50 Carousel template if sample diameter
7 | A7 | 48-UWSIF-Glut-4-0-9-7 | 48-UWSIF-Glut-4- |  | linearity+drift+normalization |  |  | is larger than 3.5mm
8 | A8 | 47-UWSIF-Alfalfa2-0_9-1 | 47-UWSIF-Alfalfa2- |  | qaqc |  |  | User Comments:
9 | B1 | 47-UWSIF-Alfalfa2-0_9-2 | 47-UWSIF-Alfalfa2- |  | qaqc
10 | B2 | 0_9-161 |  |  | unknown
11 | B3 | 0_9-162 |  |  | unknown
12 | B4 | 0_9-163 |  |  | unknown
13 | B5 | 0_9-164 |  |  | unknown
14 | B6 | 0_9-165 |  |  | unknown
15 | B7 | 0_9-166 |  |  | unknown
16 | B8 | 0_9-167 |  |  | unknown
17 | C1 | 0_9-168r |  |  | unknown
18 | C2 | 0_9-169 |  |  | unknown
19 | C3 | 0_9-170 |  |  | unknown |  |  | STDS | Identifier_3
20 | C4 | 0_9-171 |  |  | unknown |  |  | 01-UWSIF-Liver- | conditioning
21 | C5 | 0_9-172 |  |  | unknown |  |  | 02-UWSIF-Whole Blood- | drift+normalization
22 | C6 | 0_9-173 |  |  | unknown |  |  | 47-UWSIF-Alfalfa2- | linearity
23 | C7 | 0_9-174 |  |  | unknown |  |  | 15-UWISF-Collagen- | linearity+drift+normalization
24 | C8 | 0_9-175 |  |  | unknown |  |  | 32-UWSIF-Keratin- | qaqc
25 | D1 | 0_9-176 |  |  | unknown |  |  | 46-UWSIF-Soil3- | unknown
26 | D2 | 0_9-177 |  |  | unknown |  |  | 312-UWSIF-Cellulose-
27 | D3 | 0_9-178 |  |  | unknown |  |  | 315-UWSIF-Chitin-
28 | D4 | 0_9-179 |  |  | unknown |  |  | 39-UWSIF-Glut-2-
29 | D5 | 0_9-180 |  |  | unknown |  |  | 48-UWSIF-Glut-4-
30 | D6 | 47-UWSIF-Alfalfa2-0_9-3 | 47-UWSIF-Alfalfa2- |  | qaqc
31 | D7 | 47-UWSIF-Alfalfa2-0_9-4 | 47-UWSIF-Alfalfa2- |  | qaqc
Including replicates throughout the run is recommended to assess sample homogeneity. Users may decide how to use replicates. It is best to give the replicates the same Sample ID. The suggested places for the replicates in the tray are indicated by the cells in a different shade of green and the UWSIF ID has the suffix "r" after the ID. We do not charge for these replicates and they are not required. Please do not update any field in gray.
[8 empty] | SIF USE ONLY | Data Recordings | Initials | Additional Notes
Run Batch File
Loading & Pre-Run Notes
Post-Run Notes
Chromatography Reviewed
Analysis#s
G-#s
Repro
Data Processing Notes
Unbillable Data? (#/yes/maybe)